Certificate of Analysis

Product Name: β-N-Acetylglucosaminidase

Product Number: DGE13

Concentration: 1000 Units/L

Unit Definition: One unit will hydrolyze 1.0 μmole of p-nitrophenyl N-acetyl-β-D-glucosaminide to p-nitrophenol and N-acetyl-D-glucosamine per min at pH 5.5 at 37 °C.

Source Batch:

Expiration Date：

Storage Temperature: 2-8°C

Specification Version: 100 mM NaCl, 20 mM Tris-HCl (pH 7.4), 50 % Glycerol

Quality Release Date: 27 Nov 2024

| Test | Specification | Result |
| --- | --- | --- |
| Appearance (Color 、Form) | Colorless to pale yellow solution | Colorless Liquid |
| Prot. Content (% Protein) | ≥ 90% | 91 % |
| pH | 7.3-7.5 | 7.4 |
| Enzyme Assay (Activity U/mL) | ≥ 1000 U/L | 1037U/L |

Signature

QC Supervisor